## Costs
SZTUKI 15 · Gross budget, 11 September 2026 · yellow cells are editable
Planning allowances. Existing condition according to the owner; quantities require measurement. No resale forecasts.
Item | Quantity | Unit | Rate from | Rate to | Amount from | Amount to | Scope / limitations
Refresh both existing apartments
Painting walls and ceilings | 460 | m² | 35 | 48 | 16100 | 22080 | Paint, two coats, local repairs and priming; no full-house skim coating.
New flooring panels, underlay and installation | 115 | m² | 140 | 200 | 16100 | 23000 | Floors outside bathrooms; economy / mid-range specification.
Removing existing floor finishes | 115 | m² | 20 | 32 | 2300 | 3680 | Without removing all floor screeds.
Skirting and thresholds, installed | 110 | linear m | 30 | 45 | 3300 | 4950 | Provisional quantity, subject to measurement.
Local subfloor levelling | 20 | m² | 70 | 110 | 1400 | 2200 | Allowance for a limited area; the contractor must check beneath the flooring.
Protection, transport, waste and cleaning | 1 | package | 2000 | 3500 | 2000 | 3500 | Two apartments with a combined room area of approximately 128.39 m².
10% contingency |  |  |  |  | 4120 | 5941
Total including contingency |  |  |  |  | 45320 | 65351
Approximately 50 m² extra storey without an accessible terrace
Design, structural assessment and formalities | 1 | package | 30000 | 40000 | 30000 | 40000 | Architectural and structural design, survey, assessment and permit documentation. A planning allowance, not a schedule of official permit fees.
Organising works at height | 1 | package | 10000 | 16000 | 10000 | 16000 | Crane, safety measures, transport, waste and site supervision.
Removing the old roof and protecting the house | 1 | package | 14000 | 22000 | 14000 | 22000 | Removal of covering and roof structure, temporary rain protection; without stripping out the existing apartments.
Lightweight structure, insulation, windows and new roof | 50 | m² | 2700 | 3400 | 135000 | 170000 | Structural timber, sheathing, insulation, new-storey facade, windows, entrance door and a standard watertight flat roof. No new-house foundation.
Preparing the new apartment for finishing | 50 | m² | 1150 | 1550 | 57500 | 77500 | Partitions, linings, floor substrates, electricity, plumbing, heating and ventilation for the new floor only. No furniture, kitchen, appliances, finished flooring or sanitary fixtures.
Adapting the existing staircase to the new floor | 1 | package | 10000 | 18000 | 10000 | 18000 | Access to the apartment, enclosures and work at attic level. Further access to the rooftop terrace is priced separately.
Local structural connections and adaptations | 1 | package | 10000 | 20000 | 10000 | 20000 | Provisional allowance for lightweight-extension support details. Excludes major foundation or wall reinforcement and replacement of the existing floor structure.
Relocating the solar installation | 1 | package | 5000 | 9000 | 5000 | 9000 | Removal, reinstallation and commissioning. The future location of the 5.5 kW system must be agreed with the designer.
10% contingency |  |  |  |  | 27150 | 37250
Total including contingency |  |  |  |  | 298650 | 409750
Extra cost: approximately 50 m² open rooftop terrace
Adapting the new roof for terrace loads | 1 | package | 10000 | 18000 | 10000 | 18000 | Increment over the non-accessible roof in the extra-storey option. Final structural requirements depend on calculations.
Additional waterproofing protection and drainage details | 50 | m² | 120 | 220 | 6000 | 11000 | Protective layers, thresholds, outlets and details below the deck. The basic watertight roof is already included in the extra-storey cost.
Timber deck, support system and installation | 50 | m² | 400 | 600 | 20000 | 30000 | Treated pine or larch in a simple layout. Deck supports must not puncture the membrane and must allow access to drainage.
Solid, opaque terrace parapet | 30 | linear m | 220 | 370 | 6600 | 11100 | Increment over an ordinary roof parapet for the required height and finish; no glass. Length subject to measurement.
Shared stairs to the roof and lockable exit enclosure | 1 | package | 18000 | 28000 | 18000 | 28000 | Extending the garden-side shared staircase, with the required flight arrangement and a small enclosure with a door. No private stairs inside the apartment.
Outdoor lighting and socket | 1 | package | 1000 | 2000 | 1000 | 2000 | Basic electrical fittings; no furniture, pergola or terrace canopy.
10% contingency |  |  |  |  | 6160 | 10010
Total including contingency |  |  |  |  | 67760 | 110110
Optional: refresh the existing facade
Cleaning, local repairs and painting | 200 | m² | 80 | 120 | 16000 | 24000 | Existing insulated facade, without replacing all insulation. Provisional area.
Access and protection | 1 | package | 3000 | 5000 | 3000 | 5000 | Scaffolding / access platform. Combining this with the extension may reduce costs, subject to a contractor’s quote.
10% contingency |  |  |  |  | 1900 | 2900
Total including contingency |  |  |  |  | 20900 | 31900
Optional: finish the new apartment
Painting, flooring, internal doors and a basic bathroom | 50 | m² | 700 | 1100 | 35000 | 55000 | Additional to the ready-for-finishing scope. Excludes kitchen cabinetry, appliances and movable furniture.
10% contingency |  |  |  |  | 3500 | 5500
Total including contingency |  |  |  |  | 38500 | 60500

## Assumptions and sources
Assumption / source | Description
Scope | No furniture, kitchen or appliances. New apartment ready for finishing. Existing facade and new-apartment finishes are optional.
Structure | Feasibility requires a structural assessment; major reinforcement is not priced. A 10% contingency does not replace the assessment.
Prices | Gross planning ranges including materials and labour, not quotes for Sztuki 15.
Purchase | Price PLN 1,499,000; PCC PLN 29,980 if payable; estimated purchase fees PLN 4–8 thousand.
Excluded | Finance, holding costs, separate legal titles, sale costs and sale taxes require separate estimates.
WOODPECKER · Aligator manufacturer’s offer, March 2026 | Approximately 50 m² house: PLN 117,108 + PLN 85,532 = PLN 202,640 gross (8% VAT), ready for finishing, excluding the foundation and options. The manufacturer adds site organisation costs. This is a technology benchmark, not a quote for extending Sztuki 15. https://www.domekidom.com/wp-content/uploads/2026/04/Oferta-Aligator-5-m-DEWELOPERSKI-03.2026.pdf
ADREM · Warsaw labour price list | Net labour rates from: painting PLN 20/m², panel installation PLN 65/m² and removal PLN 25/m². Our ranges are gross and also include materials; the lower option requires straightforward work and comparison of contractor quotes. https://adrem.org.pl/cennik/
Tarasy Wesoła · materials and installation costs | Ground-level decks including materials and installation: a broad PLN 250–900/m² range, excluding ground preparation. This is not the cost of a complete accessible roof. The Aligator manufacturer also lists an 18 m² pine deck at PLN 9,000 gross, or PLN 500/m². https://tarasywesola.pl/poradnik/ile-kosztuje-taras-przy-domu-ceny-materialy-i-co-warto-wiedziec-przed-budowa/
CHATOS · facade works price list | A supporting reference for facade painting; final area, access and repairs require measurement. https://chatos.pl/cennik/
Ministry of Finance · PCC rates | The secondary-market purchase example assumes 2% PCC if payable. A notary must assess any exemption for the particular buyer. https://www.podatki.gov.pl/podatki-osobiste/pcc/stawki-i-limity
GUGiK · Property Price Register | Public data on completed transactions. Availability and coverage must be checked for the selected area. https://www.geoportal.gov.pl/pl/dane/rejestr-cen-nieruchomosci-rcn/

## Market 11 Sep 2026
Listing | m² | Price | PLN/m² | Scope and link
Garwolińska | 48 | 799000 | 16645.8333 | Three rooms, floor 2 of 3, balcony; high standard. Apartment in a multi-unit building, without a private garden or rooftop terrace.
Makowska | 49.69 | 650000 | 13081.1028 | Two rooms, floor 1 of 3, balcony; furnished. The description states 49.69 m²; the headline rounds it to 50 m². The price per m² uses the more precise area.
Łukowska · villa floor | 84.2 | 990000 | 11757.7197 | An entire floor of a semi-detached house, an approximately 200 m² garden, garage and basements. Requires a full renovation. Different condition, area and land rights; not directly comparable to a finished apartment.